# Hydrogen A colorless, odorless, flammable gas

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Grade | Item No. | Purity | Quality Assay | Cylinder\* | Contents (cf) |
| **Research** | HY 6.0RS-X | 99.9999% | 02 < .2 ppmCO < .1 ppmTHC < .1 ppmH2O < .2 ppmC02 < .1 ppm | 300 (T)200 (K)80 (Q) | 26119571 |
| **Ultra High Purity** | HY 5.0UH-X | 99.999% | 02 < 1 ppm THC < .5 ppmH2O < 1 ppm | 300 (T)200 (K)80 (Q) | 26119571 |
| **Zero** | HY 4.5Z-X | 99.995% | THC < .5 ppm | 300 (T)200 (K)80 (Q) | 26119571 |

\*Nonstandard cylinder sizes available upon request
X – Complete the item number with the desired cylinder size. (ie. HY 5.0UH-T)